APPLICATION DATA SHEET

FIZEPR-SW100.2X

Moisture meter for liquid materials Registration No 58390-14 in the State Register of Measuring Equipment of the Russian Federation. Pattern Approval Certificate of Measuring Instruments RU.C.31.001.A No 56698.

| 1. Information about the customer |
| --- |
| Company |  |
| Address |  |
| E-mail |  |
| Phone |  |
| Customer contacts |  |
| Date requested |  |
| 2. Application, technical requirements |
| 1 | Type of material water-oil emulsion, crude oil, sludge, oil, alcohol, steam-water mixture, ... |  |
| 2 | Sensor design versions: - 20 - straight-flow (with two flanges on the same axis); - 22 - U-type (bypass, two flanged branches on one side of the sensor); - 23 - straight-flow, for extreme temperatures and pressures; - 24 - L-type (angle); - 25 - Z-type (two flanged branches on the sensor side, turned at 90º or 180º); - 21 - immersion, full-flow, with one flange; - 21.1 (-12) - immersion, for measurement in tanks, attached to a rod (pipe). |  |
| 3 | Measured parameter moisture, water content (mass/volume ratio, water mass/total mass), percentages, steam dryness… |  |
| 4 | Range of possible values of measured parameter |  |
| 5 | Technological or commercial accounting |  |
| 6 | Required accuracy |  |
| 6.1 | Is it possible to supply samples of materials for calibration? |  |
| 7 | Temperature range of material |  |
| 8 | Place for installation (Reservoir, pipeline, …) |  |
| 8.1 | For the pipeline, specify the diameter DN (mm), the maximum pressure PN (bar), the flange version |  |
| 9 | Operating conditions (indoor, outdoor) |  |
| 10 | Temperature range at the installation site of the electronic unit, ºС |  |
| 11 | Cable length between the sensor and the electronic unit (1,5…4 m) |  |
| 12 | Execution: Explosion-proof design / General industrial execution |  |
| 13 | Presence of gaseous phase, volume content, % |  |
| 14 | Salt content, other inclusions |  |
| 15 | Other requirements |  |
| 16 | Number of moisture meters ordered |  |
| 3. Additional equipment |
| 1 | Power supply 24V «OWEN BP30B-D3-24» (Or to another output power) If necessary, specify the quantity |  |
| 2 | The indicator with control functions (measuring-regulator) «OWEN TRM-201» or «METAKON -1105» If necessary, specify the type and quantity |  |
| 3 | Interface converter USB – RS485 «OWEN AS4» for DIN-rail by “Owen” or «ACDR.426469.032» by NVP "Bolid" If necessary, specify the type and quantity |  |
| 4 | Control cabinet 400 x 300 x 150mm With installed and connected equipment: - electronic unit; - power supply; - indicator (it is installed on the cabinet door); - automatic circuit breaker; - other (specify). If necessary, specify the quantity |  |
| 5 | Return flange When ordering, specify the flange type, material (steel grade) and quantity |  |
| 4. Additional technical requirements or special options |

Attach additional sheets to further describe the installation details

Questionnaire sent to e-mail: info@fizepr.ru or fizepr@rambler.ru

http://fizepr.com/ Manufacturer and supplier of moisture meters Design Bureau "Fizelektronpribor", Ltd. INN 6315522386, KPP 631501001 141, Galaktionovskaya str., Samara, 443010 Phone: +7-846-925-63-53, +7-846-244-89-51, +7-846-952-83-82.