APPLICATION DATA SHEET

FIZEPR-SW100.17.X

Moisture meter for loose and pasty materials. The main application is in concrete mixing machines (supplied with a fixing set)

| 1. Information about the customer |
| --- |
| Company |  |
| Address |  |
| E-mail |  |
| Phone |  |
| Customer contacts |  |
| Date requested |  |
| 2. Application, technical requirements |
| 1 | Type of material Concrete, mortar, clay, coal, iron ore, ... |  |
| 2 | Sensor design versions: - 17 - sensor of 108 mm diameter, control of water content in concrete mixture inside concrete mixing machines, control of material moisture inside hoppers; - 17.1 - sensor of 80 mm diameter, control of water content in concrete mixture inside concrete mixing machines, control of material moisture inside hoppers; - 17.2 - sensor of 80 mm diameter, measurements in cylindrical sampling systems. |  |
| 3 | Measured parameter moisture, water content (mass/volume ratio, water mass/total mass), percentages |  |
| 4 | Range of possible values of measured parameter |  |
| 5 | Technological or commercial accounting |  |
| 6 | Required accuracy |  |
| 6.1 | Is it possible to supply samples of materials for calibration? |  |
| 7 | Temperature range of material |  |
| 8 | Place for installation Concrete mixer, conveyor, screw, hopper, sampling system, … |  |
| 9 | Operating conditions (indoor, outdoor) |  |
| 10 | Temperature range at the installation site of the electronic unit, ºС |  |
| 11 | Cable length between the sensor and the electronic unit (1,5…4 m) |  |
| 12 | Execution: Explosion-proof design / General industrial execution |  |
| 13 | Other requirements |  |
| 14 | Number of moisture meters ordered |  |
| 3. Additional equipment |
| 1 | Power supply 24V «OWEN BP30B-D3-24» (Or to another output power) If necessary, specify the quantity |  |
| 2 | The indicator with control functions (measuring-regulator) «OWEN TRM-201» or «METAKON -1105» If necessary, specify the type and quantity |  |
| 3 | Interface converter USB – RS485 «OWEN AS4» for DIN-rail by “Owen” or «ACDR.426469.032» by NVP "Bolid" If necessary, specify the type and quantity |  |
| 4 | Control cabinet 400 x 300 x 150mm With installed and connected equipment: - electronic unit; - power supply; - indicator (it is installed on the cabinet door); - automatic circuit breaker; - other (specify). If necessary, specify the quantity |  |
| 4. Additional technical requirements or special options |

Attach additional sheets to further describe the installation details

Questionnaire sent to e-mail: info@fizepr.ru or fizepr@rambler.ru

http://fizepr.com/ http://fizepr.com/moisture-meter-for-concrete-mixing-machines Manufacturer and supplier of moisture meters Design Bureau "Fizelektronpribor", Ltd. INN 6315522386, KPP 631501001 141, Galaktionovskaya str., Samara, 443010 Phone: +7-846-925-63-53, +7-846-244-89-51, +7-846-952-83-82.